NTPC LIMITED

(A GOVERNMENT OF INDIA ENTERPRISE)

Central Procurement Group-I, Raipur

INVITATION FOR BIDS (IFB)

(DOMESTIC COMPETITIVE BIDDING)

FOR

Procurement of 02 Nos of 201.67 MVA, 20/400KV GT for Stage-I at NTPC Rihand

NIT No. : 9900326396

- NTPC Limited (NTPC) invites online bids on “Single Stage Two Envelope Bidding basis” from eligible bidders for aforesaid package, as per the scope of work briefly mentioned hereinafter.

- BRIEF SCOPE OF WORK

The scope of work comprises of the activities and services mentioned in scope of work and as per “Technical Specification/BOQ” for “Procurement of 02 Nos of 201.67 MVA, 20/400KV GT for Stage-I at NTPC Rihand”.

The scope of work shall comprise, but not limited to the supply, erection, testing and inspection of equipment’s and materials at manufacturer’s works, packing, supply, transportation, transit insurance, delivery to site, unloading, storage and equipment erection including associated civil and structural works if any.

NTPC intends to finance the subject Package through Internal Resources.

- Detailed Specification, Scope of Work and Terms & Conditions are given in the Bidding Documents, which are available for examination and Sale at our eProcurement Portal (https://eprocurentpc.nic.in/nicgep/app) and as per the following schedule:

| Form of Contract/Tender Category | WORKS CONTRACT* |
| --- | --- |
| NIT Date | As per e-tender portal |
| Document sale Commencement Date | As per e-tender portal |
| Last date for receipt of queries from bidders (if any) | As per e-tender portal |
| Last Date & time for Bid submission | As per e-tender portal |
| Technical Bid Opening Date & Time | As per e-tender portal |
| Price bid Opening Date & time | Shall be intimated separately. |
| Tender Fee | Not Applicable |
| EMD/Bid Security | Rs.1,00,00,000/- (Exemption NOT ALLOWED) |
| Integrity Pact | Applicable |
| MSE Benefit | Not Applicable |

*The MSE Benefits as mentioned in Bid Data Sheet (BDS), shall be applicable for “Form of Contract/Tender Category” type “categorized as "Services" / ”Supply” and not for “Form of Contract/Tender Category” categorized as “Works Contracts”.

“No Queries from Bidders, whatsoever, shall be entertained by the Employer beyond the last date of receipt of Queries/ Pre-Bid Conference (if applicable) as specified above.”

Corrigendum (if any) shall be available on our e-tender website https://eprocurentpc.nic.in only.

- Bidder has to ensure the following documents to be submitted, pursuant to ITB Clause 15, failing which bid is liable for rejection

a)	Tender Fee: Not applicable

b)	Earnest Money Deposit/Bid Security: The Bidder shall furnish, as a part of his Bid an Earnest Money Deposit / Bid Security of amount : as in above table.

c)	Integrity Pact : Applicable

d)	Deed of Joint Undertaking (DJU) : Not Applicable

Any bid not accompanied by Integrity pact (if applicable), Deed of joint undertaking (if applicable) and Bid security shall be rejected by the Employer as being non-responsive.

Any bid not accompanied by an acceptable bid security in a Separate sealed envelope (only in case where bid security is submitted through BG) shall be rejected by the employer as being non-responsive. In case, the bid Security is submitted as E-BG / through electronic fund transfer (EFT), Bidder to submit the copy of E-BG /proof of e-payment of bid security either in separate sealed envelope or in the e-tendering portal.

All bids must be accompanied by Bid Security in the form as stipulated in the Bidding documents.

For details, please refer Clause 14 of Section-II Bid Data Sheets (BDS).

Payment of EMD is not exempted in this tender. Bids without adequate Bid Security as per tender provisions, shall be outrightly rejected.

Online facility of submitting the bid security is enabled.

Bid Security/EMD may be paid only through online payment of bid security amount applicable for this tender OR through Bank Guarantee of appropriate value in accordance with the tender provisions.

Bidders who wish to submit bank guarantee MUST upload the scanned copy of bank guarantee and also ensure that original physical copy of the bank guarantee reaches at the address mentioned above before the submission deadline as per tender provisions.

- A complete set of Bidding Document may be downloaded by any interested Bidder from https://eprocurentpc.nic.in/nicgep/app.

- QUALIFYING REQUIREMENTS FOR BIDDERS.

The bidder who wishes to participate in the bidding shall meet the Qualifying Requirements stipulated hereunder:

  - Technical Criteria:

6.1.1	The Bidder should have Designed, Manufactured, Installed/Supervised installation and Commissioned/ Supervised commissioning of at least one (01) no. of 400 KV or above class Power Transformer of at least 200 MVA capacity (either three phase transformers as a single unit or single-phase transformer) which should be in successful operation for at least two (02) years prior to the date of techno-commercial bid opening.

Notes for 6.1:

1. 	Reference work executed by the bidder as a sub-contractor may also be considered provided the certificate issued by main contractor is duly certified by owner specifying the scope of work executed by the sub-contractor in support of qualifying requirements.

6.2	Financial Criteria:

6.2.1	The average annual turnover of the bidder, in the preceding three (03) financial years, reckoned as on the date of Techno-commercial bid opening shall not be less than Rs.22.10 Crores (Rupees Twenty-Two Crores Ten Lakhs only).

6.2.2	In case the bidder does not satisfy the financial criteria, stipulated at Cl. 6.2.1 above on its own, its Holding Company would be required to meet the stipulated turnover requirements at Cl. 6.2.1 above, provided that the net worth of such Holding Company as on the last day of the preceding financial year is at least equal to or more than the paid-up share capital of the Holding Company. In such an event, the bidder would be required to furnish along with its Techno-Commercial bid, a Letter of Undertaking from the Holding Company, supported by Board Resolution, as per the format enclosed in the bid documents, pledging unconditional and irrevocable financial support for the execution of the Contract by the bidder in case of award.

6.2.3 The Net Worth of the bidder as on the last day of the preceding financial year (as on the date of techno-commercial bid opening) should not be less than 100% of the Bidder's paid-up share capital. In case the Bidder meets the requirement of Net worth based on the strength of its Subsidiary (ies) and/or Holding Company and/or Subsidiaries of its Holding companies wherever applicable, the Net worth of the Bidder and its subsidiary (ies) and / or Holding Company and/or subsidiary (ies) of the Holding Company, in combined manner should not be less than 100% of their total paid-up share capital. However individually, their Net worth should not be less than 75% of their respective paid-up share capitals.

Net worth in combined manner shall be calculated as follows:

Net worth (combined) = (X1+X2+X3) / (Y1+Y2+Y3) X 100

Where X1, X2, X3 are individual Net worth which should not be less than 75% of the respective paid up share capitals and Y1, Y2, Y3 are individual paid up share capitals.

6.2.4	In case the bidder is not able to furnish its audited financial statements on stand-alone entity basis, the unaudited unconsolidated financial statements of the bidder can be considered acceptable provided the bidder further furnishes the following documents for substantiation of its qualification:

- Copies of the unaudited unconsolidated financial statements of the bidder along with copies of the Audited consolidated financial statements of its Holding Company.

- A Certificate from the CEO/CFO of the Holding Company, as per the format enclosed in the bidding documents, stating that the unaudited unconsolidated financial statements form part of the Consolidated Annual Report of the company

6.2.5	In cases where audited results for the last preceding financial year as on the date of Techno-Commercial bid opening are not available, the financial results certified by a practicing Chartered Accountant shall be considered acceptable. In case, Bidder is not able to submit the Certificate from practicing Chartered Accountant certifying its financial parameters, the audited results of three consecutive financial years preceding the last financial year shall be considered for evaluating the financial parameters. Further, a Certificate would be required from the CEO/CFO as per the format enclosed in the bidding documents stating that the Financial results of the Company are under audit as on the date of Techno-Commercial bid opening and the Certificate from the practicing Chartered Accountant certifying the financial parameters is not available.

Notes for 6.2:

- Other income shall not be considered for arriving at annual turnover.

- “Holding Company" and “Subsidiary Company” shall have the meaning ascribed to them as per Companies Act of India, in vogue.

- Net worth means the sum total of the paid up share capital and free reserves. Free reserve means all reserves credited out of the profits and share premium account but does not include reserves credited out of the revaluation of the assets, write back of depreciation provision and amalgamation. Further, any debit balance of Profit and Loss account and miscellaneous expenses to the extent not adjusted or written off, if any, shall be reduced from reserves and surplus.

“Any Certificate(s) / Financial Statement(s) / Audited Balance Sheet and P&L Account (wherever applicable) undertaken /  signed  by  a  Member  of  Institute  of  Chartered Accountant of India (ICAI), which Bidders submit in support of compliance to Qualifying Requirements  (QR),  will  carry  Unique  Document  Identification  Number  (UDIN) generated  in  line  with  the  Gazette  Notification  of  Council  of  Institute  of  Chartered Accountant of India (ICAI).

- ‘Class-I local suppliers’ / “Class-I local suppliers and Class-II local suppliers’’ only are eligible to participate in this tender, as defined in the bidding documents / Public Procurement (Preference to Make in India), Order 2017 and its subsequent amendments/ revisions issued by DPIIT. The bidders may apprise themselves of the relevant provisions of bidding documents in this regard before submission of their bids."

NOTE:

Bidders are requested to give acceptance of being Class-I Local Supplier (Minimum Local Content equal to or more than 60%) by accepting the GTE & declaration in Bid Form.

By accepting the MLC provision of GTE, it will be considered that:-

“Bidder is 'Class-I local supplier’ and is meeting the MLC requirement stipulated in Annexure-I to BDS”.

Also supplier is not presently debarred / banned by any other procuring entity for violation of ‘Public Procurement (Preference to Make In India), Order 2017’ (PPP-MII Order) dated 15.06.2017 and its subsequent revisions / amendments issued by Department for Promotion of Industry and Internal trade (DPIIT)’’.

In case of false declaration in respect of Local content, same shall be treated as false declaration and will be dealt in line with the Fraud Prevention Policy of NTPC.

The bidders may apprise themselves of the relevant provisions of bidding documents in this regard before submission of their bids.

- Any ‘Bidder from a country which shares a land border with India’, as specified in the Bidding Documents, will be eligible to bid in this tender only if bidder is registered with the Competent Authority as mentioned in the Bidding Documents.

Further, any bidder (including bidder from India) having specified Transfer of Technology (ToT) arrangement with an entity from a country which shares a land border with India, will be eligible to bid only if the bidder is registered with the same competent authority.

However, the said requirement of registration will not apply to bidders from those countries (even if sharing a land border with India) to which the Government of India has extended lines of credit or in which the Government of India is engaged in development projects.

- NTPC reserves the right to reject any or all bids or cancel / withdraw the Invitation for Bids/NIT without assigning any reason whatsoever and in such case no bidder / intending bidder shall have any claim arising out of such action.

- Issuance of bid documents to any Bidder shall not construe that such bidder is considered to be qualified. Bids shall be submitted online and opened at the address given below in the presence of Bidder’s representatives who choose to attend the bid opening.

- Transfer of Bidding Documents purchased by one intending Bidder to another is not permissible.

- Address for communication:

DGM / AGM (CPG-1/C&M)

NTPC Limited, Unified Shared Service Centre, Central Procurement Group-1,

Western Region-II Head Quarter, Plot No.-87, Sector-24,

Atal Nagar Nava Raipur, Raipur, Chhattisgarh, Pin Code-492101

Tel. No.: 0771-2515493 / 0771-2515220

Email: ajaykumarshivhare@ntpc.co.in / gauravsaraswat@ntpc.co.in

Websites: www.gem.gov.in or www.ntpctender.ntpc.co.in or www.ntpc.co.in

- Registered Office

NTPC Limited

NTPC Bhawan, SCOPE Complex,

7, Institutional Area, Lodi Road,

New Delhi – 110003

Corporate Identification Number: 40101DL1975GOI007966.

Website: www.ntpc.co.in